|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ***New Nationa lCode*** | ***Item description*** | ***Unit*** | ***Qty*** | ***Without Estimated price USD*** | ***Origin*** |
| OPH-DE00-007 | Hydrodissection Cannula, 25G x 22mm, Tip Flattened in Horizontal Plane | pcs | 7332 |  |  |
| OPH-DE00-012 | I and A Cannula (Simcoe) 23G x 23G , Standard,0.4mm port with 200mm Silicone Tubing | pcs | 7811 |  |  |
| OPH-DE00-018 | Silastic ( silicon ) tube for DCR | pcs | 1147 |  |  |
| OPH-DE00-019 | Scalpel Blade (No. 11) | pcs | 22630 |  |  |
| OPH-DE00-020 | Scalpel Blade (No. 15) | pcs | 25260 |  |  |
| OPH-DE00-022 | Microvitreoretinal Blade ( MVR ) , 23G | pcs | 7080 |  |  |
| OPH-DE00-025 | Aspiration Cannula , 20G x 32mm | pcs | 652 |  |  |
| OPH-DE00-026 | Aspiration Cannula , 20G x 32mm , Silicone Tip | pcs | 608 |  |  |
| OPH-DE00-028 | Aspiration Cannula , 23G x 32mm | pcs | 1910 |  |  |
| OPH-DE00-029 | Aspiration Cannula , 23G x 32mm , Silicone Tip | pcs | 2832 |  |  |
| OPH-DE00-032 | Coaxial Perfluorocarbone Injection Cannula , 23/30G x 32mm | pcs | 1735 |  |  |
| OPH-DE00-035 | Membrane Micropick ( Eaton ) , 20G x 32mm long cannula with 30G Sharp Tip extension angled 50 degrees | pcs | 249 |  |  |
| OPH-DE00-040 | Backflush Handle with Finger Controle and Luer lok Cannula Connection | pcs | 309 |  |  |
| OPH-DE00-049 | Silicone Oil 1000 CST 10ml Syringe | pcs | 825 |  |  |
| OPH-DE00-051 | Perfluorodecaline Vial | pcs | 3195 |  |  |
| OPH-DE00-052 | Sulfur Hexafluoride Gas ( conister 30 ml ) | pcs | 661 |  |  |
| OPH-DE00-053 | Perfluoro Octane Gas ( conister 30 ml ) | pcs | 378 |  |  |
| OPH-DE20-A054 | ILM Stain0.05 | PACK | 384 |  |  |
| OPH-DE00-055 | Foldable Posterior Chamber Lens(different powers) with lens Cartridge and Injector 0-15 Diopters / 1 diopers steps 30% , 15-24 Diopters / 0.5 diopters steps 60% , 25- 32 Diopters / 1diopters steps 10% of estimated needs. | pcs | 35747 |  |  |
| OPH-DE00-056 | Posterior Chamber PMMA Lens ( 0 – 30 Diopters ) in 0.5 steps , 0-15 Diopters / 1 diopers steps 30% , 15-24 Diopters / 0.5 diopters steps 60% , 25- 32 Diopters / 1 diopters steps 10% of estimated needs. | pcs | 14055 |  |  |
| OPH-DE00-060 | Surgical Absorbing Eye Sponge Spear ( Triangular on 7 cm Stick ) | pack (10 Piece ) | 32881 |  |  |
| OPH-DE00-061 | Non-Woven Half Body Incise Adhesive Drape with Fluid Collection Bag | pcs | 61583 |  |  |
| OPH-DE00-063 | Fluorescein Paper Sticks | pcs | 27695 |  |  |
| OPH-DE00-065 | Bandage ( Theraputic ) Soft Contact Lenses | pcs | 13831 |  |  |
| OPH-DE00-067 | Trypan Blue Anterior Lens Capsule Stain | pcs | 19000 |  |  |
| OPH-DE00-070 | non-integrated size 12 | pcs | 354 |  |  |
| OPH-DE00-071 | non-integrated size 14 | pcs | 358 |  |  |
| OPH-DE00-072 | non-integrated size 16 | pcs | 355 |  |  |
| OPH-DE00-073 | non-integrated size 18 | pcs | 374 |  |  |
| OPH-DE00-074 | non-integrated size 20 | pcs | 361 |  |  |
| OPH-DE00-075 | integrated size 12 | pcs | 297 |  |  |
| OPH-DE00-076 | integrated size 14 | pcs | 304 |  |  |
| OPH-DE00-077 | integrated size 16 | pcs | 294 |  |  |
| OPH-DE00-078 | integrated size 18 | pcs | 284 |  |  |
| OPH-DE00-079 | integrated size 20 | pcs | 2241 |  |  |
| OPH-DE00-085 | angled keratomes 2.8 mm | pcs | 27564 |  |  |
| OPH-DE00-086 | conformer (size small) | pcs | 669 |  |  |
| OPH-DE00-087 | conformer (size medim) | pcs | 710 |  |  |
| OPH-DE00-088 | conformer (size large) | pcs | 523 |  |  |
| OPH-DE00-092 | Miochol vial | pcs | 19220 |  |  |