**الى / كافة الشركات**

**م / تنويه**

**المناقصة 87/2023/60**

 **مستلزمات جراحة صدر / نبيذة اساسي**

**تحية طيبة :**

**ندرج لكم ادناه المواصفات الاضافية للرموز الوطنية الخاصة بالخيوط :**

|  |  |
| --- | --- |
|  | **الخيوط الجراحية**  |
|  | **Stainless steel , uncoated , twisted multistrand , metal non - obsorbable , gamma irradiation starilization )**  |
|  | **monofilament polypropylene non- absorbable sutures** |
| **CTS-DE17-116** | **2/0,doubl needle, taper point,3/8 circle ,22mm,metric3,90cm length** |
| **CTS-DE17-118** | **3/0,doubl needle, taper point1/2 circle ,17mm,metric2,90cm length** |
| **CTS-DE17-119** | **3/0,doubl needle, taper point1/2 circle ,26mm,metric2,90cm length** |

 **........ مع الاحترام**

For / all companies

Attention

Invitation No.87/2023/60

Cardiac appliances

Below are the additional specifications of the national code for threads:

|  |  |
| --- | --- |
|  | **Surgical sutures**  |
|  | **Stainless steel , uncoated , twisted multistrand , metal non - obsorbable , gamma irradiation starilization )**  |
|  | **monofilament polypropylene non- absorbable sutures** |
| **CTS-DE17-116** | **2/0,doubl needle, taper point,3/8 circle ,22mm,metric3,90cm length** |
| **CTS-DE17-118** | **3/0,doubl needle, taper point1/2 circle ,17mm,metric2,90cm length** |
| **CTS-DE17-119** | **3/0,doubl needle, taper point1/2 circle ,26mm,metric2,90cm length** |

 Best regard.