Kurz Medical /Tracoe

AL-JATHWA for medical supply

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **No.** | **National Code** | **Kimadia Description** | **Kurz Description** | **Kurz code** | **Qty. 2024** | | **Unit** | **Unit Price** | **Total Price** |
|  | **ENT-DE00-038** | **TORP**  **operation done to replace lost or damaged otsides either total or partial.**  **Material used in this prosthesis: is titanium because it is inert and is not affected by MRI up to 8 tesla.**  **Stainless steel is affected by MRI**  **Teflon is more liable for infection so the preferable material is titanium and may be supported by bioceramic (hydroxy appetite)**  **Titanium can be maleated (maleable) to be adjusted as surgeon need.**  **measuring tool or measuring device or set should be supplied to be measured accordingly**  **The acessive part must be cut by cutter or clipper and can be used times.** | **Trop: TTP-VARIAC System Total Prosthesis**  **material: Pure Titanium.**  **Size: Ø 0.2x3.0-7.0 mm** | **1004020** | **315** | | **pcs** | **$270.00** | **$85050.00** |
|  | **ENT-DE00-039** | **PORP**  **operation done to replace lost or damaged otsides either total or partial.**  **Material used in this prosthesis: is titanium because it is inert and is not affected by MRI up to 8 tesla.**  **Stainless steel is affected by MRI**  **Teflon is more liable for infection so the preferable material is titanium and may be supported by Bioceramic (hydroxy appetite)**  **Titanium can be maleated (maleable) to be adjusted as surgeon need.**  **measuring tool or measuring device or set should be supplied to be measured accordingly**  **The acessive part must be cut by cutter or clipper and can be used times.** | **Prop: TTP-VARIAC system Partial Prosthesis**  **material: Pure Titanium.**  **Size: Ø 0.2x1.75-4.5 mm** | **1002020** | **291** | | **pcs** | **$270.00** | **$78570.00** |
| **Instrument: TTP-VARIAC** |  | **10** | | **Set** | **FOC** | **FOC** |
| * **Titanium Tweezers.** | **8000 136** |  | |  |  |  |
| * **TTitanium Micro cutting closing forceps.** | **8000 137** |
| * **CCutting forceps, stainless steel.** | **8000 171** |
| * **MMicro Scissors, stainless steel.** | **8000 172** |
| * **TTray TTP- VARIAC** | **8000 173** |
| **(Re sterilizable)** | | |  |
| **Total Price : 163620.00 $ one hundred sixty three thousand six hundred twenty Dollars CIP to kimadia warehouse /Dabbash** | | | | | | | | | |